[image: image2.jpg]RAND®OX





RANDOX QUALITY CONTROL

CERTIFICATE OF ANALYSIS

The Quality Control Department at Randox Laboratories Limited certifies that this product has been tested and meets all performance specifications and release requirements.

	DATE OF MANUFACTURE: 
	2017-11

	KIT DESCRIPTION: 
	CALCIUM ARSENAZO

	CATALOGUE NO: 
	CA2390

	BATCH NO: 
	431620

	EXPIRY DATE: 
	2019-11


	SAMPLE
	TARGET
	RANGE
	RESULT
	UNITS

	LEVEL II / 892UN
	2.23
	2.01-2.45
	2.34
	mmol/L

	LEVEL III / 766UE
	3.21
	2.89-3.53
	3.38
	mmol/L


APPROVED BY:    

[image: image1.emf]
QUALITY CONTROL REPRESENTATIVE

[image: image3.png]Randox Laboratories Limited, 55 Diamond Road, Crumlin, Councy Antrim, BT29 4QY, United Kingdom
T +44(0) 2894422413 F +44 (0) 28 9445 2912 E marketing@randox.com | wwwrandox.com

Dt S P Figardd B¢ FD D5 (o) FAE M. ] iz W Fgsdd OBE. . Kty S5 FCA
Fandox Laboratores e 5 Compary rgeteed n Nortoam Fan Cormpay Nmbor 5735, VAT Number GB 353030100,




4706-QC Rev4

27th September 2013

[image: image2.jpg][image: image3.png]_1441803134

