[image: image2.jpg]RAND®OX





RANDOX QUALITY CONTROL

CERTIFICATE OF ANALYSIS

The Quality Control Department at Randox Laboratories Limited certifies that this product has been tested and meets all performance specifications and release requirements.

	DATE OF MANUFACTURE: 
	2018-03

	KIT DESCRIPTION: 
	CREATININE

	CATALOGUE NO: 
	CR3814

	BATCH NO: 
	442878

	EXPIRY DATE: 
	2021-02


	SAMPLE
	TARGET
	RANGE
	RESULT
	UNITS

	LEVEL II / 892UN
	122.0
	97.3-147.0
	127.1
	g/L

	LEVEL III / 766UE
	320.0
	256.0-384.0
	316.3
	g/L


APPROVED BY:    

[image: image1.emf]
QUALITY CONTROL REPRESENTATIVE

[image: image3.png]Randox Laboratories Limited, 55 Diamond Road, Crumlin, Councy Antrim, BT29 4QY, United Kingdom
T +44(0) 2894422413 F +44 (0) 28 9445 2912 E marketing@randox.com | wwwrandox.com

Dt S P Figardd B¢ FD D5 (o) FAE M. ] iz W Fgsdd OBE. . Kty S5 FCA
Fandox Laboratores e 5 Compary rgeteed n Nortoam Fan Cormpay Nmbor 5735, VAT Number GB 353030100,




4706-QC Rev4

27th September 2013

[image: image2.jpg][image: image3.png]_1441803134

