[image: image2.jpg]RAND®OX





RANDOX QUALITY CONTROL

CERTIFICATE OF ANALYSIS

The Quality Control Department at Randox Laboratories Limited certifies that this product has been tested and meets all performance specifications and release requirements.

	DATE OF MANUFACTURE: 
	2018-05

	KIT DESCRIPTION: 
	HDL/LDL CHOLESTEROL CALIBRATOR

	CATALOGUE NO: 
	CH2673

	BATCH NO: 
	2437CH

	EXPIRY DATE: 
	2019-05-28


	SAMPLE
	ANALYTE
	TARGET
	RANGE
	RESULT
	UNITS

	2437CH
	DHDL CHOLESTEROL
	1.84
	N/A
	1.82
	µmol/L

	2437CH
	DLDL CHOLESTEROL
	3.44
	N/A
	3.45
	µmol/L


APPROVED BY:    

[image: image1.emf]
QUALITY CONTROL REPRESENTATIVE

[image: image3.png]Randox Laboratories Limited, 55 Diamond Road, Crumlin, Councy Antrim, BT29 4QY, United Kingdom
T +44(0) 2894422413 F +44 (0) 28 9445 2912 E marketing@randox.com | wwwrandox.com

Dt S P Figardd B¢ FD D5 (o) FAE M. ] iz W Fgsdd OBE. . Kty S5 FCA
Fandox Laboratores e 5 Compary rgeteed n Nortoam Fan Cormpay Nmbor 5735, VAT Number GB 353030100,




FORM No. 9323-QC 


Page 1 of 1


REVISION (1)

27th September 2013

[image: image2.jpg][image: image3.png]_1442043021

