[image: image2.jpg]RAND®OX





HUMAN SERUM QUALITY CONTROL

CERTIFICATE OF ANALYSIS
The Quality Control Department at Randox Laboratories Limited certifies that this product has been tested and meets all performance specifications and release requirements.

	DATE OF MANUFACTURE: 
	2018-06

	KIT DESCRIPTION: 
	CK-MB Control

	CATALOGUE NO: 
	CK1212

	BATCH / LOT NO: 
	4196CK

	EXPIRY DATE: 
	2022-02-28


	ANALYTE
	TARGET
	RANGE
	RESULT
	UNITS

	CK-MB
	162
	138 – 186
	163
	mmol/L

	CK-Nac
	225
	191 - 259
	224
	U/L


Human source material from which this product was derived has been tested at donor level for HIV1 & HIV 2, Syphilis, HbsAG, and Antibody to HCV and found to be negative. However, since no method can offer complete assurance as to the absence of infectious agents this material should be handled with the same precautions recommended for a human serum or blood specimen.
APPROVED BY: 

[image: image1.png]



QUALITY CONTROL REPRESENTATIVE
[image: image3.png]Randox Laboratories Limited, 55 Diamond Road, Crumlin, Councy Antrim, BT29 4QY, United Kingdom
T +44(0) 2894422413 F +44 (0) 28 9445 2912 E marketing@randox.com | wwwrandox.com

Dt S P Figardd B¢ FD D5 (o) FAE M. ] iz W Fgsdd OBE. . Kty S5 FCA
Fandox Laboratores e 5 Compary rgeteed n Nortoam Fan Cormpay Nmbor 5735, VAT Number GB 353030100,




4705-QC Rev6

27TH September 2013


[image: image2.jpg][image: image3.png]_1441803082

